## Detailed BOM
Goldrush Generator Paralleling Project — Comprehensive Bill of Materials
Item | Source | Category | Description
1 | CAT | Primary Equipment | CAT ECS-200 Retrofit Kit for GEN-1 EMCP 4.3 to ECS-200 conversion (includes retrofit hardware/componentry per CAT proposal)
2 | CAT | Controller Hardware | ECS-200-related field installation hardware, retrofit wiring/componentry, and conversion accessories for GEN-1
3 | CAT | Testing / Support | CAT load bank and parallel run test support / controller startup support
4 | SEL | Primary Equipment | SEL-700G-0,-1,-T,-W Generator and Intertie Protection Relay
5 | SEL | Primary Equipment | SEL-3555 RTAC (Part No. 3555#M1K1)
6 | HEE | Panel Integration | Relay mounting hardware, cutout adapters, DIN / rack / fastening hardware for (2) 700G relays and RTAC
7 | HEE | Control Power | 24/48/125 Vdc control power distribution components, miniature breakers/fuses, power distribution terminals, misc protection
8 | HEE | Control Cable | Multiconductor shielded control cable between RTAC, relays, marshalling, breaker status/trip-close circuits
9 | HEE | Network Cable | CAT6 / industrial Ethernet cable and patching for RTAC / relay / ECS-200 network connections
10 | HEE | Fiber / Serial | Fiber jumpers / serial cable / RS-485 cabling and terminations for legacy or long-distance interfaces if needed
11 | HEE | PT / Sync Reference Wiring | PT secondary wiring from bus / utility / tie references to 700G and 751 sync inputs, including fused test links as required
12 | HEE | CT / VT / Status Wiring | Relay secondary wiring revisions for 700G inputs, breaker status, lockout, permissives, and aux contacts
13 | HEE | Modbus / Controller Interface | Controller-to-RTAC interface cabling, terminations, network interface accessories, and related integration hardware
14 | HEE | Wire Management | Wire duct, ferrules, labels, markers, heat-shrink, lugs, ring/fork terminals, cable ties, consumables

## Summary
BOM Summary
Bucket | Amount | Comments
SEL Firm Equipment | #REF! | Two 700G relays and one SEL-3555 RTAC from SEL proposal
CAT Lump Sum / Included Material Basis | #REF! | CAT retrofit proposal is lump sum; carried here as included material/services basis
HEE / Installer Integration Material | #REF! | New wiring, cabling, marshalling, network, and integration material allowances
Total BOM Basis | #REF! | Combined BOM basis including CAT and SEL provided material and new integration material

## Assumptions
Assumptions / Notes
• CAT proposal is provided as a lump-sum service scope with a high-level BOM description. This workbook carries the full CAT line item as a BOM basis reference, while noting that exact CAT hardware breakout is not separately priced in the proposal.
• SEL proposal includes firm equipment pricing only for two SEL-700G relays and one SEL-3555 RTAC. SEL accessories beyond explicitly listed part numbers should be confirmed during submittal review.
• HEE / Installer integration material lines are estimating allowances based on the expected need for new control wiring, relay wiring, PT sync-reference additions, communications cabling, marshalling, and panel integration work.
• Existing equipment such as the SEL-3530 RTAC, SEL-2407 clock, and portions of the existing switchgear/control system are assumed to remain in service unless otherwise revised by design.
• Quantities and exact cable lengths should be field-verified and finalized after detailed routing, termination counts, and panel integration design are completed.
• This BOM is intended to be comprehensive for proposal development and coordination, but it should still be refined during detailed engineering and vendor submittal review.